## Calculator
| Products |  | Characteristics of the installation
Description | LED Spotlight | Halogen Lamp
Power (W) | 7 | 50
Running Time Per Day (hrs) | 12 | 12 | 12
Operation Days per year (days) | 365 | 365 | 365
Running Time Per Year (hrs) | 4380 | 4380
Energy consumed per year (kWh) | 30.66 | 219
% of Energy Saving | 86%
Cost of Energy per kWh ($) | 0.18 | 0.18 | 0.18
Cost of energyper year ($) | 5.5188 | 39
Unit Price of Products ($) | 18.6 | 1.5
Maintanence | N/A | 3
Life Time of lamp (hrs) | 50000 | 2000
Lamp replacement cost per year ($) | N/A | 6.285
Toal Cost Of Operation ($) | 24.1188 | 45.285
Total annual savings ($) | 21.1662 | N/A
Payback period (years) | 0.87876 | N/A